**ACM ELECTRICAL 0151 481 0906 / 07793029631**

13 CUPER CRESCENT  HUYTON

LIVERPOOL

L36 3RP

**Our Ref: BL/AL/00005**

**ELECTRICAL WORKS Date: 02/03/2021**

**F.A.O / LOWRY PROPERTY MANAGEMENT**

ADDRESS: 10 SUTHERLAND ROAD, L34 2TU

PROPERTY TYPE: 2 BED HOUSE

**QUOTATION**

REPLACE 45 AMP SHOWER PULL SWITCH £15.00.

INSTALL FUSE SPUR TO OUTSIDE LIGHT £25.00.

FAULT FIND TO SOCKET RING MAIN CIRCUIT, FAILED IR TEST VALUES. £70.00

FAULT FIND TO WALL LIGHTS X 2 AND 3 LIGHT SWITCHES (METALLIC). £35.00.

THERE IS NO CPC EARTHING TO THE FIXTURES & NEW PENDANT.

INSTALL 10.00MM EARTH CABLE TO BOTH GAS & WATER PIPEWORK. £90.00.

REPLACE 8-10 WAY CONSUMER UNIT DUAL RCD METAL CLAD TYPE. £350.00.

C/W METER TAILS AND EARTH MET 8WAY BLOCK.

REPLACE LOW LEVEL W/MACH SKT &B.BOX AND CABLING £35.00.

5 YEAR SATISFACTORY ELECTRICAL CERTIFICATE ISSUED £ INC

**TOTAL £620.00**